BID FORM
Phase 1 Shoreline Restoration
for
Blue Lake CDD
Revised February 19, 2026 Contractor:

ITEM NO.

UNIT PRICE

DESCRIPTION

QUANTITY

UNIT

AMOUNT

I.

Drainage Restoration

Final Grading (Restore berm/rear swale to design grades per plans)

2.0

1

LS

$0.00

$0.00

Stabilize all impacted restored areas with sod (match existing species)

3.0

1

LS

$0.00

$0.00

	Sub-Total Shoreline Restoration	$0.00

1

23218
PARCEL PAVEMENT (SY) LIMEROCK (SY) STABILIZER (SY) SIDEWALK (SY)

2-C
11957.79
11957.79
15111.87
2552.62

2-J
8758.51
8758.51
11040.16
1892.8

TOTAL
20,716.30
20,716.30
26,152.03
4,445.42
-
- 16,269.86
601.76
169.58
-

CURB
2' VALLEY GUTTER (LF) TYPE "F" CURB (LF) TYPE "A" CURB (LF)

9569.88
601.76

6699.98

169.58

ROADWAY SOD (SY) LAKE SOD (SY)
ADA (EA)

2252
3808.45
8

1521.44
5655.42
5

3,773.44
9,463.87
13.00
-
-

25,882.76

WATER
8" PVC DR-18 (LF)
8" PVC DR-14 (LF)
8" GATE VALVE (EA)
10" PVC DR-18 (LF)
10" PVC DR-14 (LF)
10" GATE VALVE (EA) FIRE HYDRANT (EA)

4587.32
233.21
15

3351.74
140.53

7,939.06
373.74
15.00
-
-
- 15.00
-
- 7,844.56
372.94
22.00
-
-
-
-
- 8,011.53
28.00
1.00
1.00
-
- 32.16
- 1.00
-
-
-
- 18.00
- 360.79
84.40
1,276.69
385.00
289.92
1,089.38
1,821.93
415.89
442.37
- 28.00
3.00
-
- 2.00
6.00
10.00
2.00
- 7,588.57
	12,645.45

8,312.80

8

7

IRRIGATION
4" PVC DR-18 (LF)
4" PVC DR-14 (LF)
4" GATE VALVE (EA)
8" PVC DR-18 (LF)
8" PVC DR-14 (LF)
8" GATE VALVE (EA)

4673.88
228.91
15

3170.68
144.03
7

SANITARY
8" SDR-26 (LF)
4' MANHOLE (EA)
6' MANHOLE (EA) LIFT STATION (EA)

4722.73
14
1
1

3288.8
14

FORCEMAIN
4" DR-18 (LF)
4: DR-14 (LF)
4" PLUG VALVE (EA)
8" DR-18 (LF)
8" DR-14 (LF)

32.16

1

DRAINAGE
YARD DRAIN (EA) 30" ADS (LF)
24" ADS (LF)
18" ADS (LF)
12" ADS (LF)
48" RCP (LF)
42" RCP (LF)
36" RCP (LF)
30" RCP (LF)
24" RCP (LF)
18" RCP (LF) JUNCTION BOX (EA) VGI (EA)
TYPE "C" INLET (EA) TYPE "D" INLET (EA) TYPE "9' INLET (EA) 48" HW (EA)
36" HW (EA)
30" HW (EA)
24" HW (EA)

15

3

360.79
84.4
849.84
385
289.92

426.85

1089.38
173.39
202.39
166.75

1648.54
213.5
275.62

18
2

10
1

2

6
1
1

9
1

CENTERLINE (LF) BERM SOD (SY)

4200.27
11809.98

3388.3
835.47

J:\23218\dwg\cost estimate\Quantities_By_Parcel.xlsx